## Master_Data
Date | Power Station | Record Type | Unit | Status | Monitored Capacity (MW) | Today's Program (MU) | Today's Actual (MU) | April 1 Till Date Program (MU) | April 1 Till Date Actual (MU) | Coal Stock (Days) | Capacity Under Outage (MW) | Outage Date | Expected/Sync Date | Remarks | Generation Variance (MU) | Program Achievement (%) | Source File
2026-06-06 | KOTA TPS | Station |  |  | 1240 | 23.96 | 22.22 | 1596.76 | 1148.25 | 15 | 0 |  |  |  | -1.74 | 92.74% | dgr2-2026-06-06.xls
2026-06-06 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.62 | 130.58 | 92.61 |  | 0 |  |  |  | -0.31 | 83.94% | dgr2-2026-06-06.xls
2026-06-06 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.66 | 130.58 | 96.36 |  | 0 |  |  |  | -0.27 | 86.01% | dgr2-2026-06-06.xls
2026-06-06 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.67 | 264.4 | 207.76 |  | 0 |  |  |  | -0.23 | 94.1% | dgr2-2026-06-06.xls
2026-06-06 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.75 | 262 | 64.96 |  | 0 |  |  |  | -0.25 | 93.75% | dgr2-2026-06-06.xls
2026-06-06 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.85 | 266 | 198.7 |  | 0 |  |  |  | -0.15 | 96.25% | dgr2-2026-06-06.xls
2026-06-06 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 272.6 | 264.8 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-06.xls
2026-06-06 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.82 | 270.6 | 223.06 |  | 0 |  |  |  | -0.28 | 93.17% | dgr2-2026-06-06.xls
2026-06-07 | KOTA TPS | Station |  |  | 1240 | 23.96 | 21.88 | 1620.72 | 1170.13 | 14 | 0 |  |  |  | -2.08 | 91.32% | dgr2-2026-06-07.xls
2026-06-07 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.61 | 132.51 | 94.22 |  | 0 |  |  |  | -0.32 | 83.42% | dgr2-2026-06-07.xls
2026-06-07 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.58 | 132.51 | 97.94 |  | 0 |  |  |  | -0.35 | 81.87% | dgr2-2026-06-07.xls
2026-06-07 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.59 | 268.3 | 211.35 |  | 0 |  |  |  | -0.31 | 92.05% | dgr2-2026-06-07.xls
2026-06-07 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.61 | 266 | 68.57 |  | 0 |  |  |  | -0.39 | 90.25% | dgr2-2026-06-07.xls
2026-06-07 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.83 | 270 | 202.53 |  | 0 |  |  |  | -0.17 | 95.75% | dgr2-2026-06-07.xls
2026-06-07 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 276.7 | 268.65 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-07.xls
2026-06-07 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.81 | 274.7 | 226.87 |  | 0 |  |  |  | -0.29 | 92.93% | dgr2-2026-06-07.xls
2026-06-08 | KOTA TPS | Station |  |  | 1240 | 23.96 | 21.95 | 1644.68 | 1192.08 | 14 | 0 |  |  |  | -2.01 | 91.61% | dgr2-2026-06-08.xls
2026-06-08 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.55 | 134.44 | 95.77 |  | 0 |  |  |  | -0.38 | 80.31% | dgr2-2026-06-08.xls
2026-06-08 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.6 | 134.44 | 99.54 |  | 0 |  |  |  | -0.33 | 82.9% | dgr2-2026-06-08.xls
2026-06-08 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.61 | 272.2 | 214.96 |  | 0 |  |  |  | -0.29 | 92.56% | dgr2-2026-06-08.xls
2026-06-08 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.67 | 270 | 72.24 |  | 0 |  |  |  | -0.33 | 91.75% | dgr2-2026-06-08.xls
2026-06-08 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.85 | 274 | 206.38 |  | 0 |  |  |  | -0.15 | 96.25% | dgr2-2026-06-08.xls
2026-06-08 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 280.8 | 272.49 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-08.xls
2026-06-08 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.83 | 278.8 | 230.7 |  | 0 |  |  |  | -0.27 | 93.41% | dgr2-2026-06-08.xls
2026-06-09 | KOTA TPS | Station |  |  | 1240 | 23.96 | 22.45 | 1668.64 | 1214.53 | 14 | 0 |  |  |  | -1.51 | 93.7% | dgr2-2026-06-09.xls
2026-06-09 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.63 | 136.37 | 97.4 |  | 0 |  |  |  | -0.3 | 84.46% | dgr2-2026-06-09.xls
2026-06-09 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.74 | 136.37 | 101.28 |  | 0 |  |  |  | -0.19 | 90.16% | dgr2-2026-06-09.xls
2026-06-09 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.72 | 276.1 | 218.68 |  | 0 |  |  |  | -0.18 | 95.38% | dgr2-2026-06-09.xls
2026-06-09 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.81 | 274 | 76.05 |  | 0 |  |  |  | -0.19 | 95.25% | dgr2-2026-06-09.xls
2026-06-09 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.89 | 278 | 210.27 |  | 0 |  |  |  | -0.11 | 97.25% | dgr2-2026-06-09.xls
2026-06-09 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 284.9 | 276.34 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-09.xls
2026-06-09 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.81 | 282.9 | 234.51 |  | 0 |  |  |  | -0.29 | 92.93% | dgr2-2026-06-09.xls
2026-06-10 | KOTA TPS | Station |  |  | 1240 | 23.96 | 22.6 | 1692.6 | 1237.13 | 14 | 0 |  |  |  | -1.36 | 94.32% | dgr2-2026-06-10.xls
2026-06-10 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.65 | 138.3 | 99.05 |  | 0 |  |  |  | -0.28 | 85.49% | dgr2-2026-06-10.xls
2026-06-10 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.71 | 138.3 | 102.99 |  | 0 |  |  |  | -0.22 | 88.6% | dgr2-2026-06-10.xls
2026-06-10 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.74 | 280 | 222.42 |  | 0 |  |  |  | -0.16 | 95.9% | dgr2-2026-06-10.xls
2026-06-10 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.69 | 278 | 79.74 |  | 0 |  |  |  | -0.31 | 92.25% | dgr2-2026-06-10.xls
2026-06-10 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.95 | 282 | 214.22 |  | 0 |  |  |  | -0.05 | 98.75% | dgr2-2026-06-10.xls
2026-06-10 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 289 | 280.19 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-10.xls
2026-06-10 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.01 | 287 | 238.52 |  | 0 |  |  |  | -0.09 | 97.8% | dgr2-2026-06-10.xls
2026-06-11 | KOTA TPS | Station |  |  | 1240 | 23.96 | 22.28 | 1716.56 | 1259.41 | 14 | 0 |  |  |  | -1.68 | 92.99% | dgr2-2026-06-11.xls
2026-06-11 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.65 | 140.23 | 100.7 |  | 0 |  |  |  | -0.28 | 85.49% | dgr2-2026-06-11.xls
2026-06-11 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.7 | 140.23 | 104.69 |  | 0 |  |  |  | -0.23 | 88.08% | dgr2-2026-06-11.xls
2026-06-11 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.7 | 283.9 | 226.12 |  | 0 |  |  |  | -0.2 | 94.87% | dgr2-2026-06-11.xls
2026-06-11 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.38 | 282 | 83.12 |  | 0 |  |  |  | -0.62 | 84.5% | dgr2-2026-06-11.xls
2026-06-11 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.99 | 286 | 218.21 |  | 0 |  |  |  | -0.01 | 99.75% | dgr2-2026-06-11.xls
2026-06-11 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 293.1 | 284.03 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-11.xls
2026-06-11 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.02 | 291.1 | 242.54 |  | 0 |  |  |  | -0.08 | 98.05% | dgr2-2026-06-11.xls
2026-06-12 | KOTA TPS | Station |  |  | 1240 | 23.96 | 21.58 | 1740.52 | 1280.99 | 14 | 0 |  |  |  | -2.38 | 90.07% | dgr2-2026-06-12.xls
2026-06-12 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.56 | 142.16 | 102.26 |  | 0 |  |  |  | -0.37 | 80.83% | dgr2-2026-06-12.xls
2026-06-12 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.59 | 142.16 | 106.28 |  | 0 |  |  |  | -0.34 | 82.38% | dgr2-2026-06-12.xls
2026-06-12 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.56 | 287.8 | 229.68 |  | 0 |  |  |  | -0.34 | 91.28% | dgr2-2026-06-12.xls
2026-06-12 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.38 | 286 | 86.5 |  | 0 |  |  |  | -0.62 | 84.5% | dgr2-2026-06-12.xls
2026-06-12 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.83 | 290 | 222.04 |  | 0 |  |  |  | -0.17 | 95.75% | dgr2-2026-06-12.xls
2026-06-12 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 297.2 | 287.87 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-12.xls
2026-06-12 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.82 | 295.2 | 246.36 |  | 0 |  |  |  | -0.28 | 93.17% | dgr2-2026-06-12.xls
2026-06-13 | KOTA TPS | Station |  |  | 1240 | 23.96 | 21.74 | 1764.48 | 1302.73 | 14 | 0 |  |  |  | -2.22 | 90.73% | dgr2-2026-06-13.xls
2026-06-13 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.57 | 144.09 | 103.83 |  | 0 |  |  |  | -0.36 | 81.35% | dgr2-2026-06-13.xls
2026-06-13 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.59 | 144.09 | 107.87 |  | 0 |  |  |  | -0.34 | 82.38% | dgr2-2026-06-13.xls
2026-06-13 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.61 | 291.7 | 233.29 |  | 0 |  |  |  | -0.29 | 92.56% | dgr2-2026-06-13.xls
2026-06-13 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.38 | 290 | 89.88 |  | 0 |  |  |  | -0.62 | 84.5% | dgr2-2026-06-13.xls
2026-06-13 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.88 | 294 | 225.92 |  | 0 |  |  |  | -0.12 | 97% | dgr2-2026-06-13.xls
2026-06-13 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 301.3 | 291.71 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-13.xls
2026-06-13 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.87 | 299.3 | 250.23 |  | 0 |  |  |  | -0.23 | 94.39% | dgr2-2026-06-13.xls
2026-06-14 | KOTA TPS | Station |  |  | 1240 | 23.96 | 21.02 | 1788.44 | 1323.75 | 13 | 0 |  |  |  | -2.94 | 87.73% | dgr2-2026-06-14.xls
2026-06-14 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.48 | 146.02 | 105.31 |  | 0 |  |  |  | -0.45 | 76.68% | dgr2-2026-06-14.xls
2026-06-14 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.48 | 146.02 | 109.35 |  | 0 |  |  |  | -0.45 | 76.68% | dgr2-2026-06-14.xls
2026-06-14 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.44 | 295.6 | 236.73 |  | 0 |  |  |  | -0.46 | 88.21% | dgr2-2026-06-14.xls
2026-06-14 | KOTA TPS | Unit | 4 |  | 210 | 4 | 3.38 | 294 | 93.26 |  | 0 |  |  |  | -0.62 | 84.5% | dgr2-2026-06-14.xls
2026-06-14 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.67 | 298 | 229.59 |  | 0 |  |  |  | -0.33 | 91.75% | dgr2-2026-06-14.xls
2026-06-14 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 305.4 | 295.56 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-14.xls
2026-06-14 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.72 | 303.4 | 253.95 |  | 0 |  |  |  | -0.38 | 90.73% | dgr2-2026-06-14.xls
2026-06-15 | KOTA TPS | Station |  |  | 1240 | 19.96 | 21.3 | 1808.4 | 1345.05 | 13 | 0 |  |  |  | 1.34 | 106.7% | dgr2-2026-06-15.xls
2026-06-15 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.54 | 147.95 | 106.85 |  | 0 |  |  |  | -0.39 | 79.79% | dgr2-2026-06-15.xls
2026-06-15 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.56 | 147.95 | 110.91 |  | 0 |  |  |  | -0.37 | 80.83% | dgr2-2026-06-15.xls
2026-06-15 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.5 | 299.5 | 240.23 |  | 0 |  |  |  | -0.4 | 89.74% | dgr2-2026-06-15.xls
2026-06-15 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.38 | 294 | 96.64 |  | 0 |  |  |  | 3.38 |  | dgr2-2026-06-15.xls
2026-06-15 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.75 | 302 | 233.34 |  | 0 |  |  |  | -0.25 | 93.75% | dgr2-2026-06-15.xls
2026-06-15 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 309.5 | 299.41 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-15.xls
2026-06-15 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.72 | 307.5 | 257.67 |  | 0 |  |  |  | -0.38 | 90.73% | dgr2-2026-06-15.xls
2026-06-16 | KOTA TPS | Station |  |  | 1240 | 19.96 | 22.49 | 1828.36 | 1367.54 | 13 | 0 |  |  |  | 2.53 | 112.7% | dgr2-2026-06-16.xls
2026-06-16 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.68 | 149.88 | 108.53 |  | 0 |  |  |  | -0.25 | 87.05% | dgr2-2026-06-16.xls
2026-06-16 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.73 | 149.88 | 112.64 |  | 0 |  |  |  | -0.2 | 89.64% | dgr2-2026-06-16.xls
2026-06-16 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.79 | 303.4 | 244.02 |  | 0 |  |  |  | -0.11 | 97.18% | dgr2-2026-06-16.xls
2026-06-16 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.38 | 294 | 100.02 |  | 0 |  |  |  | 3.38 |  | dgr2-2026-06-16.xls
2026-06-16 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.03 | 306 | 237.37 |  | 0 |  |  |  | 0.03 | 100.8% | dgr2-2026-06-16.xls
2026-06-16 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 313.6 | 303.26 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-16.xls
2026-06-16 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.03 | 311.6 | 261.7 |  | 0 |  |  |  | -0.07 | 98.29% | dgr2-2026-06-16.xls
2026-06-17 | KOTA TPS | Station |  |  | 1240 | 19.96 | 22.35 | 1848.32 | 1389.89 | 13 | 0 |  |  |  | 2.39 | 112% | dgr2-2026-06-17.xls
2026-06-17 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.6 | 151.81 | 110.13 |  | 0 |  |  |  | -0.33 | 82.9% | dgr2-2026-06-17.xls
2026-06-17 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.66 | 151.81 | 114.3 |  | 0 |  |  |  | -0.27 | 86.01% | dgr2-2026-06-17.xls
2026-06-17 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.72 | 307.3 | 247.74 |  | 0 |  |  |  | -0.18 | 95.38% | dgr2-2026-06-17.xls
2026-06-17 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.52 | 294 | 103.54 |  | 0 |  |  |  | 3.52 |  | dgr2-2026-06-17.xls
2026-06-17 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.04 | 310 | 241.41 |  | 0 |  |  |  | 0.04 | 101% | dgr2-2026-06-17.xls
2026-06-17 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 317.7 | 307.11 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-17.xls
2026-06-17 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.96 | 315.7 | 265.66 |  | 0 |  |  |  | -0.14 | 96.59% | dgr2-2026-06-17.xls
2026-06-18 | KOTA TPS | Station |  |  | 1240 | 19.96 | 23.1 | 1868.28 | 1412.99 | 13 | 0 |  |  |  | 3.14 | 115.7% | dgr2-2026-06-18.xls
2026-06-18 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.61 | 153.74 | 111.74 |  | 0 |  |  |  | -0.32 | 83.42% | dgr2-2026-06-18.xls
2026-06-18 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.77 | 153.74 | 116.07 |  | 0 |  |  |  | -0.16 | 91.71% | dgr2-2026-06-18.xls
2026-06-18 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.89 | 311.2 | 251.63 |  | 0 |  |  |  | -0.01 | 99.74% | dgr2-2026-06-18.xls
2026-06-18 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.62 | 294 | 107.16 |  | 0 |  |  |  | 3.62 |  | dgr2-2026-06-18.xls
2026-06-18 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.18 | 314 | 245.59 |  | 0 |  |  |  | 0.18 | 104.5% | dgr2-2026-06-18.xls
2026-06-18 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 321.8 | 310.95 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-18.xls
2026-06-18 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.19 | 319.8 | 269.85 |  | 0 |  |  |  | 0.09 | 102.2% | dgr2-2026-06-18.xls
2026-06-19 | KOTA TPS | Station |  |  | 1240 | 19.96 | 23.03 | 1888.24 | 1436.02 | 13 | 0 |  |  |  | 3.07 | 115.4% | dgr2-2026-06-19.xls
2026-06-19 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.65 | 155.67 | 113.39 |  | 0 |  |  |  | -0.28 | 85.49% | dgr2-2026-06-19.xls
2026-06-19 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.76 | 155.67 | 117.83 |  | 0 |  |  |  | -0.17 | 91.19% | dgr2-2026-06-19.xls
2026-06-19 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.88 | 315.1 | 255.51 |  | 0 |  |  |  | -0.02 | 99.49% | dgr2-2026-06-19.xls
2026-06-19 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.57 | 294 | 110.73 |  | 0 |  |  |  | 3.57 |  | dgr2-2026-06-19.xls
2026-06-19 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.11 | 318 | 249.7 |  | 0 |  |  |  | 0.11 | 102.8% | dgr2-2026-06-19.xls
2026-06-19 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 325.9 | 314.8 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-19.xls
2026-06-19 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.21 | 323.9 | 274.06 |  | 0 |  |  |  | 0.11 | 102.7% | dgr2-2026-06-19.xls
2026-06-20 | KOTA TPS | Station |  |  | 1240 | 19.96 | 23.61 | 1908.2 | 1459.63 | 12 | 0 |  |  |  | 3.65 | 118.3% | dgr2-2026-06-20.xls
2026-06-20 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.76 | 157.6 | 115.15 |  | 0 |  |  |  | -0.17 | 91.19% | dgr2-2026-06-20.xls
2026-06-20 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.87 | 157.6 | 119.7 |  | 0 |  |  |  | -0.06 | 96.89% | dgr2-2026-06-20.xls
2026-06-20 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 4.03 | 319 | 259.54 |  | 0 |  |  |  | 0.13 | 103.3% | dgr2-2026-06-20.xls
2026-06-20 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.65 | 294 | 114.38 |  | 0 |  |  |  | 3.65 |  | dgr2-2026-06-20.xls
2026-06-20 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.24 | 322 | 253.94 |  | 0 |  |  |  | 0.24 | 106% | dgr2-2026-06-20.xls
2026-06-20 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 330 | 318.65 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-20.xls
2026-06-20 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.21 | 328 | 278.27 |  | 0 |  |  |  | 0.11 | 102.7% | dgr2-2026-06-20.xls
2026-06-21 | KOTA TPS | Station |  |  | 1240 | 19.96 | 21.8 | 1928.16 | 1481.43 | 13 | 0 |  |  |  | 1.84 | 109.2% | dgr2-2026-06-21.xls
2026-06-21 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.53 | 159.53 | 116.68 |  | 0 |  |  |  | -0.4 | 79.27% | dgr2-2026-06-21.xls
2026-06-21 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.62 | 159.53 | 121.32 |  | 0 |  |  |  | -0.31 | 83.94% | dgr2-2026-06-21.xls
2026-06-21 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.64 | 322.9 | 263.18 |  | 0 |  |  |  | -0.26 | 93.33% | dgr2-2026-06-21.xls
2026-06-21 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.52 | 294 | 117.9 |  | 0 |  |  |  | 3.52 |  | dgr2-2026-06-21.xls
2026-06-21 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.8 | 326 | 257.74 |  | 0 |  |  |  | -0.2 | 95% | dgr2-2026-06-21.xls
2026-06-21 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 334.1 | 322.5 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-21.xls
2026-06-21 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.84 | 332.1 | 282.11 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-21.xls
2026-06-22 | KOTA TPS | Station |  |  | 1240 | 19.96 | 21.79 | 1948.12 | 1503.22 | 12 | 0 |  |  |  | 1.83 | 109.2% | dgr2-2026-06-22.xls
2026-06-22 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.56 | 161.46 | 118.24 |  | 0 |  |  |  | -0.37 | 80.83% | dgr2-2026-06-22.xls
2026-06-22 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.62 | 161.46 | 122.94 |  | 0 |  |  |  | -0.31 | 83.94% | dgr2-2026-06-22.xls
2026-06-22 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.67 | 326.8 | 266.85 |  | 0 |  |  |  | -0.23 | 94.1% | dgr2-2026-06-22.xls
2026-06-22 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.48 | 294 | 121.38 |  | 0 |  |  |  | 3.48 |  | dgr2-2026-06-22.xls
2026-06-22 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.83 | 330 | 261.57 |  | 0 |  |  |  | -0.17 | 95.75% | dgr2-2026-06-22.xls
2026-06-22 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.86 | 338.2 | 326.36 |  | 0 |  |  |  | -0.24 | 94.15% | dgr2-2026-06-22.xls
2026-06-22 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.77 | 336.2 | 285.88 |  | 0 |  |  |  | -0.33 | 91.95% | dgr2-2026-06-22.xls
2026-06-23 | KOTA TPS | Station |  |  | 1240 | 19.96 | 22.3 | 1968.08 | 1525.52 | 12 | 0 |  |  |  | 2.34 | 111.7% | dgr2-2026-06-23.xls
2026-06-23 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.63 | 163.39 | 119.87 |  | 0 |  |  |  | -0.3 | 84.46% | dgr2-2026-06-23.xls
2026-06-23 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.67 | 163.39 | 124.61 |  | 0 |  |  |  | -0.26 | 86.53% | dgr2-2026-06-23.xls
2026-06-23 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.76 | 330.7 | 270.61 |  | 0 |  |  |  | -0.14 | 96.41% | dgr2-2026-06-23.xls
2026-06-23 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.56 | 294 | 124.94 |  | 0 |  |  |  | 3.56 |  | dgr2-2026-06-23.xls
2026-06-23 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.96 | 334 | 265.53 |  | 0 |  |  |  | -0.04 | 99% | dgr2-2026-06-23.xls
2026-06-23 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 342.3 | 330.21 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-23.xls
2026-06-23 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.87 | 340.3 | 289.75 |  | 0 |  |  |  | -0.23 | 94.39% | dgr2-2026-06-23.xls
2026-06-24 | KOTA TPS | Station |  |  | 1240 | 19.96 | 22.02 | 1988.04 | 1547.54 | 11 | 0 |  |  |  | 2.06 | 110.3% | dgr2-2026-06-24.xls
2026-06-24 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.58 | 165.32 | 121.45 |  | 0 |  |  |  | -0.35 | 81.87% | dgr2-2026-06-24.xls
2026-06-24 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.61 | 165.32 | 126.22 |  | 0 |  |  |  | -0.32 | 83.42% | dgr2-2026-06-24.xls
2026-06-24 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.69 | 334.6 | 274.3 |  | 0 |  |  |  | -0.21 | 94.62% | dgr2-2026-06-24.xls
2026-06-24 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.51 | 294 | 128.45 |  | 0 |  |  |  | 3.51 |  | dgr2-2026-06-24.xls
2026-06-24 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.86 | 338 | 269.39 |  | 0 |  |  |  | -0.14 | 96.5% | dgr2-2026-06-24.xls
2026-06-24 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 346.4 | 334.05 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-24.xls
2026-06-24 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.93 | 344.4 | 293.68 |  | 0 |  |  |  | -0.17 | 95.85% | dgr2-2026-06-24.xls
2026-06-25 | KOTA TPS | Station |  |  | 1240 | 19.96 | 22.35 | 2008 | 1569.89 | 11 | 0 |  |  |  | 2.39 | 112% | dgr2-2026-06-25.xls
2026-06-25 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.6 | 167.25 | 123.05 |  | 0 |  |  |  | -0.33 | 82.9% | dgr2-2026-06-25.xls
2026-06-25 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.65 | 167.25 | 127.87 |  | 0 |  |  |  | -0.28 | 85.49% | dgr2-2026-06-25.xls
2026-06-25 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.89 | 338.5 | 278.19 |  | 0 |  |  |  | -0.01 | 99.74% | dgr2-2026-06-25.xls
2026-06-25 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.52 | 294 | 131.97 |  | 0 |  |  |  | 3.52 |  | dgr2-2026-06-25.xls
2026-06-25 | KOTA TPS | Unit | 5 |  | 210 | 4 | 3.92 | 342 | 273.31 |  | 0 |  |  |  | -0.08 | 98% | dgr2-2026-06-25.xls
2026-06-25 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 350.5 | 337.9 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-25.xls
2026-06-25 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 3.92 | 348.5 | 297.6 |  | 0 |  |  |  | -0.18 | 95.61% | dgr2-2026-06-25.xls
2026-06-26 | KOTA TPS | Station |  |  | 1240 | 19.96 | 22.97 | 2027.96 | 1592.86 | 10 | 0 |  |  |  | 3.01 | 115.1% | dgr2-2026-06-26.xls
2026-06-26 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.63 | 169.18 | 124.68 |  | 0 |  |  |  | -0.3 | 84.46% | dgr2-2026-06-26.xls
2026-06-26 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.76 | 169.18 | 129.63 |  | 0 |  |  |  | -0.17 | 91.19% | dgr2-2026-06-26.xls
2026-06-26 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.82 | 342.4 | 282.01 |  | 0 |  |  |  | -0.08 | 97.95% | dgr2-2026-06-26.xls
2026-06-26 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.63 | 294 | 135.6 |  | 0 |  |  |  | 3.63 |  | dgr2-2026-06-26.xls
2026-06-26 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.13 | 346 | 277.44 |  | 0 |  |  |  | 0.13 | 103.2% | dgr2-2026-06-26.xls
2026-06-26 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 354.6 | 341.74 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-26.xls
2026-06-26 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.16 | 352.6 | 301.76 |  | 0 |  |  |  | 0.06 | 101.5% | dgr2-2026-06-26.xls
2026-06-27 | KOTA TPS | Station |  |  | 1240 | 19.96 | 23.48 | 2047.92 | 1616.34 | 10 | 0 |  |  |  | 3.52 | 117.6% | dgr2-2026-06-27.xls
2026-06-27 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.69 | 171.11 | 126.37 |  | 0 |  |  |  | -0.24 | 87.56% | dgr2-2026-06-27.xls
2026-06-27 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.75 | 171.11 | 131.38 |  | 0 |  |  |  | -0.18 | 90.67% | dgr2-2026-06-27.xls
2026-06-27 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.97 | 346.3 | 285.98 |  | 0 |  |  |  | 0.07 | 101.8% | dgr2-2026-06-27.xls
2026-06-27 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.65 | 294 | 139.25 |  | 0 |  |  |  | 3.65 |  | dgr2-2026-06-27.xls
2026-06-27 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.29 | 350 | 281.73 |  | 0 |  |  |  | 0.29 | 107.2% | dgr2-2026-06-27.xls
2026-06-27 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 358.7 | 345.59 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-27.xls
2026-06-27 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.28 | 356.7 | 306.04 |  | 0 |  |  |  | 0.18 | 104.4% | dgr2-2026-06-27.xls
2026-06-28 | KOTA TPS | Station |  |  | 1240 | 19.96 | 23.29 | 2067.88 | 1639.63 | 9 | 0 |  |  |  | 3.33 | 116.7% | dgr2-2026-06-28.xls
2026-06-28 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.69 | 173.04 | 128.06 |  | 0 |  |  |  | -0.24 | 87.56% | dgr2-2026-06-28.xls
2026-06-28 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.75 | 173.04 | 133.13 |  | 0 |  |  |  | -0.18 | 90.67% | dgr2-2026-06-28.xls
2026-06-28 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.9 | 350.2 | 289.88 |  | 0 |  |  |  | 0 | 100% | dgr2-2026-06-28.xls
2026-06-28 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.62 | 294 | 142.87 |  | 0 |  |  |  | 3.62 |  | dgr2-2026-06-28.xls
2026-06-28 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.23 | 354 | 285.96 |  | 0 |  |  |  | 0.23 | 105.8% | dgr2-2026-06-28.xls
2026-06-28 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 362.8 | 349.43 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-28.xls
2026-06-28 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.26 | 360.8 | 310.3 |  | 0 |  |  |  | 0.16 | 103.9% | dgr2-2026-06-28.xls
2026-06-29 | KOTA TPS | Station |  |  | 1240 | 19.96 | 23.3 | 2087.84 | 1662.93 | 9 | 0 |  |  |  | 3.34 | 116.7% | dgr2-2026-06-29.xls
2026-06-29 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.72 | 174.97 | 129.78 |  | 0 |  |  |  | -0.21 | 89.12% | dgr2-2026-06-29.xls
2026-06-29 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.81 | 174.97 | 134.94 |  | 0 |  |  |  | -0.12 | 93.78% | dgr2-2026-06-29.xls
2026-06-29 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.85 | 354.1 | 293.73 |  | 0 |  |  |  | -0.05 | 98.72% | dgr2-2026-06-29.xls
2026-06-29 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.64 | 294 | 146.51 |  | 0 |  |  |  | 3.64 |  | dgr2-2026-06-29.xls
2026-06-29 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.16 | 358 | 290.12 |  | 0 |  |  |  | 0.16 | 104% | dgr2-2026-06-29.xls
2026-06-29 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.84 | 366.9 | 353.27 |  | 0 |  |  |  | -0.26 | 93.66% | dgr2-2026-06-29.xls
2026-06-29 | KOTA TPS | Unit | 7 |  | 195 | 4.1 | 4.28 | 364.9 | 314.58 |  | 0 |  |  |  | 0.18 | 104.4% | dgr2-2026-06-29.xls
2026-06-30 | KOTA TPS | Station |  |  | 1240 | 19.96 | 22.05 | 2108 | 1684.98 | 9 | 195 |  |  |  | 2.09 | 110.5% | dgr2-2026-06-30.xls
2026-06-30 | KOTA TPS | Unit | 1 |  | 110 | 1.93 | 1.69 | 177 | 131.47 |  | 0 |  |  |  | -0.24 | 87.56% | dgr2-2026-06-30.xls
2026-06-30 | KOTA TPS | Unit | 2 |  | 110 | 1.93 | 1.72 | 177 | 136.66 |  | 0 |  |  |  | -0.21 | 89.12% | dgr2-2026-06-30.xls
2026-06-30 | KOTA TPS | Unit | 3 |  | 210 | 3.9 | 3.79 | 358 | 297.52 |  | 0 |  |  |  | -0.11 | 97.18% | dgr2-2026-06-30.xls
2026-06-30 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.61 | 294 | 150.12 |  | 0 |  |  |  | 3.61 |  | dgr2-2026-06-30.xls
2026-06-30 | KOTA TPS | Unit | 5 |  | 210 | 4 | 4.08 | 362 | 294.2 |  | 0 |  |  |  | 0.08 | 102% | dgr2-2026-06-30.xls
2026-06-30 | KOTA TPS | Unit | 6 |  | 195 | 4.1 | 3.85 | 371 | 357.12 |  | 0 |  |  |  | -0.25 | 93.9% | dgr2-2026-06-30.xls
2026-06-30 | KOTA TPS | Unit | 7 | S | 195 | 4.1 | 3.31 | 369 | 317.89 |  | 195 | 2026-06-30 19:41 |  | AIR PREHEATERS PROBLEM | -0.79 | 80.73% | dgr2-2026-06-30.xls
2026-07-01 | KOTA TPS | Station |  |  | 1240 | 15.03 | 22.1 | 2123.03 | 1708.04 | 9 | 195 |  |  |  | 7.07 | 147% | dgr2-2026-07-01.xls
2026-07-01 | KOTA TPS | Unit | 1 |  | 110 | 1.84 | 1.71 | 178.84 | 133.35 |  | 0 |  |  |  | -0.13 | 92.93% | dgr2-2026-07-01.xls
2026-07-01 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.74 | 178.87 | 138.38 |  | 0 |  |  |  | -0.13 | 93.05% | dgr2-2026-07-01.xls
2026-07-01 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.82 | 361.67 | 301.42 |  | 0 |  |  |  | 0.15 | 104.1% | dgr2-2026-07-01.xls
2026-07-01 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.63 | 294 | 153.75 |  | 0 |  |  |  | 3.63 |  | dgr2-2026-07-01.xls
2026-07-01 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.06 | 365.81 | 298.51 |  | 0 |  |  |  | 0.25 | 106.6% | dgr2-2026-07-01.xls
2026-07-01 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.86 | 374.84 | 361.45 |  | 0 |  |  |  | 0.02 | 100.5% | dgr2-2026-07-01.xls
2026-07-01 | KOTA TPS | Unit | 7 | * | 195 | 0 | 3.28 | 369 | 321.18 |  | 195 | 2026-06-30 19:41 | 2026-07-01 03:35 | AIR PREHEATERS PROBLEM | 3.28 |  | dgr2-2026-07-01.xls
2026-07-02 | KOTA TPS | Station |  |  | 1240 | 15.03 | 22.87 | 2138.06 | 1730.91 | 9 | 0 |  |  |  | 7.84 | 152.2% | dgr2-2026-07-02.xls
2026-07-02 | KOTA TPS | Unit | 1 |  | 110 | 1.84 | 1.71 | 180.68 | 135.06 |  | 0 |  |  |  | -0.13 | 92.93% | dgr2-2026-07-02.xls
2026-07-02 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.76 | 180.74 | 140.14 |  | 0 |  |  |  | -0.11 | 94.12% | dgr2-2026-07-02.xls
2026-07-02 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.82 | 365.34 | 305.24 |  | 0 |  |  |  | 0.15 | 104.1% | dgr2-2026-07-02.xls
2026-07-02 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.58 | 294 | 157.33 |  | 0 |  |  |  | 3.58 |  | dgr2-2026-07-02.xls
2026-07-02 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.08 | 369.62 | 302.59 |  | 0 |  |  |  | 0.27 | 107.1% | dgr2-2026-07-02.xls
2026-07-02 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.85 | 378.68 | 365.3 |  | 0 |  |  |  | 0.01 | 100.3% | dgr2-2026-07-02.xls
2026-07-02 | KOTA TPS | Unit | 7 |  | 195 | 0 | 4.07 | 369 | 325.25 |  | 0 |  |  |  | 4.07 |  | dgr2-2026-07-02.xls
2026-07-03 | KOTA TPS | Station |  |  | 1240 | 15.03 | 21.56 | 2153.09 | 1752.47 | 9 | 0 |  |  |  | 6.53 | 143.4% | dgr2-2026-07-03.xls
2026-07-03 | KOTA TPS | Unit | 1 |  | 110 | 1.84 | 1.54 | 182.52 | 136.6 |  | 0 |  |  |  | -0.3 | 83.7% | dgr2-2026-07-03.xls
2026-07-03 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.58 | 182.61 | 141.72 |  | 0 |  |  |  | -0.29 | 84.49% | dgr2-2026-07-03.xls
2026-07-03 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.59 | 369.01 | 308.83 |  | 0 |  |  |  | -0.08 | 97.82% | dgr2-2026-07-03.xls
2026-07-03 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.17 | 294 | 160.5 |  | 0 |  |  |  | 3.17 |  | dgr2-2026-07-03.xls
2026-07-03 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.88 | 373.43 | 306.47 |  | 0 |  |  |  | 0.07 | 101.8% | dgr2-2026-07-03.xls
2026-07-03 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.84 | 382.52 | 369.14 |  | 0 |  |  |  | 0 | 100% | dgr2-2026-07-03.xls
2026-07-03 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.96 | 369 | 329.21 |  | 0 |  |  |  | 3.96 |  | dgr2-2026-07-03.xls
2026-07-04 | KOTA TPS | Station |  |  | 1240 | 15.03 | 21.81 | 2168.12 | 1774.28 | 9 | 0 |  |  |  | 6.78 | 145.1% | dgr2-2026-07-04.xls
2026-07-04 | KOTA TPS | Unit | 1 |  | 110 | 1.84 | 1.58 | 184.36 | 138.18 |  | 0 |  |  |  | -0.26 | 85.87% | dgr2-2026-07-04.xls
2026-07-04 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.63 | 184.48 | 143.35 |  | 0 |  |  |  | -0.24 | 87.17% | dgr2-2026-07-04.xls
2026-07-04 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.62 | 372.68 | 312.45 |  | 0 |  |  |  | -0.05 | 98.64% | dgr2-2026-07-04.xls
2026-07-04 | KOTA TPS | Unit | 4 |  | 210 | 0 | 3.25 | 294 | 163.75 |  | 0 |  |  |  | 3.25 |  | dgr2-2026-07-04.xls
2026-07-04 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.96 | 377.24 | 310.43 |  | 0 |  |  |  | 0.15 | 103.9% | dgr2-2026-07-04.xls
2026-07-04 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.82 | 386.36 | 372.96 |  | 0 |  |  |  | -0.02 | 99.48% | dgr2-2026-07-04.xls
2026-07-04 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.95 | 369 | 333.16 |  | 0 |  |  |  | 3.95 |  | dgr2-2026-07-04.xls
2026-07-05 | KOTA TPS | Station |  |  | 1240 | 15.03 | 18.11 | 2183.15 | 1792.39 | 9 | 210 |  |  |  | 3.08 | 120.5% | dgr2-2026-07-05.xls
2026-07-05 | KOTA TPS | Unit | 1 |  | 110 | 1.84 | 1.5 | 186.2 | 139.68 |  | 0 |  |  |  | -0.34 | 81.52% | dgr2-2026-07-05.xls
2026-07-05 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.55 | 186.35 | 144.9 |  | 0 |  |  |  | -0.32 | 82.89% | dgr2-2026-07-05.xls
2026-07-05 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.52 | 376.35 | 315.97 |  | 0 |  |  |  | -0.15 | 95.91% | dgr2-2026-07-05.xls
2026-07-05 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-05.xls
2026-07-05 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.86 | 381.05 | 314.29 |  | 0 |  |  |  | 0.05 | 101.3% | dgr2-2026-07-05.xls
2026-07-05 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.82 | 390.2 | 376.78 |  | 0 |  |  |  | -0.02 | 99.48% | dgr2-2026-07-05.xls
2026-07-05 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.86 | 369 | 337.02 |  | 0 |  |  |  | 3.86 |  | dgr2-2026-07-05.xls
2026-07-06 | KOTA TPS | Station |  |  | 1240 | 15.03 | 17.92 | 2198.18 | 1810.31 | 9 | 210 |  |  |  | 2.89 | 119.2% | dgr2-2026-07-06.xls
2026-07-06 | KOTA TPS | Unit | 1 | * | 110 | 1.84 | 1.56 | 188.04 | 141.24 |  | 0 | 2026-07-06 13:22 | 2026-07-06 15:55 | ELECTRICAL MISCELLANEOUS PROBLEMS | -0.28 | 84.78% | dgr2-2026-07-06.xls
2026-07-06 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.61 | 188.22 | 146.51 |  | 0 |  |  |  | -0.26 | 86.1% | dgr2-2026-07-06.xls
2026-07-06 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.6 | 380.02 | 319.57 |  | 0 |  |  |  | -0.07 | 98.09% | dgr2-2026-07-06.xls
2026-07-06 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-06.xls
2026-07-06 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.88 | 384.86 | 318.17 |  | 0 |  |  |  | 0.07 | 101.8% | dgr2-2026-07-06.xls
2026-07-06 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.84 | 394.04 | 380.62 |  | 0 |  |  |  | 0 | 100% | dgr2-2026-07-06.xls
2026-07-06 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.43 | 369 | 340.45 |  | 0 |  |  |  | 3.43 |  | dgr2-2026-07-06.xls
2026-07-07 | KOTA TPS | Station |  |  | 1240 | 15.03 | 18.5 | 2213.21 | 1828.81 | 10 | 210 |  |  |  | 3.47 | 123.1% | dgr2-2026-07-07.xls
2026-07-07 | KOTA TPS | Unit | 1 |  | 110 | 1.84 | 1.6 | 189.88 | 142.84 |  | 0 |  |  |  | -0.24 | 86.96% | dgr2-2026-07-07.xls
2026-07-07 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.6 | 190.09 | 148.11 |  | 0 |  |  |  | -0.27 | 85.56% | dgr2-2026-07-07.xls
2026-07-07 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.61 | 383.69 | 323.18 |  | 0 |  |  |  | -0.06 | 98.37% | dgr2-2026-07-07.xls
2026-07-07 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-07.xls
2026-07-07 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.9 | 388.67 | 322.07 |  | 0 |  |  |  | 0.09 | 102.4% | dgr2-2026-07-07.xls
2026-07-07 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.84 | 397.88 | 384.46 |  | 0 |  |  |  | 0 | 100% | dgr2-2026-07-07.xls
2026-07-07 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.95 | 369 | 344.4 |  | 0 |  |  |  | 3.95 |  | dgr2-2026-07-07.xls
2026-07-08 | KOTA TPS | Station |  |  | 1240 | 15.03 | 18.16 | 2228.24 | 1846.97 | 10 | 210 |  |  |  | 3.13 | 120.8% | dgr2-2026-07-08.xls
2026-07-08 | KOTA TPS | Unit | 1 |  | 110 | 1.84 | 1.51 | 191.72 | 144.35 |  | 0 |  |  |  | -0.33 | 82.07% | dgr2-2026-07-08.xls
2026-07-08 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.53 | 191.96 | 149.64 |  | 0 |  |  |  | -0.34 | 81.82% | dgr2-2026-07-08.xls
2026-07-08 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.53 | 387.36 | 326.71 |  | 0 |  |  |  | -0.14 | 96.19% | dgr2-2026-07-08.xls
2026-07-08 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-08.xls
2026-07-08 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.86 | 392.48 | 325.93 |  | 0 |  |  |  | 0.05 | 101.3% | dgr2-2026-07-08.xls
2026-07-08 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.84 | 401.72 | 388.3 |  | 0 |  |  |  | 0 | 100% | dgr2-2026-07-08.xls
2026-07-08 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.89 | 369 | 348.29 |  | 0 |  |  |  | 3.89 |  | dgr2-2026-07-08.xls
2026-07-09 | KOTA TPS | Station |  |  | 1240 | 15.03 | 14.29 | 2243.27 | 1861.26 | 10 | 530 |  |  |  | -0.74 | 95.08% | dgr2-2026-07-09.xls
2026-07-09 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 193.56 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-09.xls
2026-07-09 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.49 | 193.83 | 151.13 |  | 0 |  |  |  | -0.38 | 79.68% | dgr2-2026-07-09.xls
2026-07-09 | KOTA TPS | Unit | 3 | S | 210 | 3.67 | 1.2 | 391.03 | 327.91 |  | 210 | 2026-07-09 08:51 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -2.47 | 32.7% | dgr2-2026-07-09.xls
2026-07-09 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-09.xls
2026-07-09 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.89 | 396.29 | 329.82 |  | 0 |  |  |  | 0.08 | 102.1% | dgr2-2026-07-09.xls
2026-07-09 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.83 | 405.56 | 392.13 |  | 0 |  |  |  | -0.01 | 99.74% | dgr2-2026-07-09.xls
2026-07-09 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.88 | 369 | 352.17 |  | 0 |  |  |  | 3.88 |  | dgr2-2026-07-09.xls
2026-07-10 | KOTA TPS | Station |  |  | 1240 | 15.03 | 12.9 | 2258.3 | 1874.16 | 11 | 530 |  |  |  | -2.13 | 85.83% | dgr2-2026-07-10.xls
2026-07-10 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 195.4 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-10.xls
2026-07-10 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.46 | 195.7 | 152.59 |  | 0 |  |  |  | -0.41 | 78.07% | dgr2-2026-07-10.xls
2026-07-10 | KOTA TPS | Unit | 3 | * | 210 | 3.67 | 0.08 | 394.7 | 327.99 |  | 210 | 2026-07-09 08:51 | 2026-07-10 18:05 | GENERATOR MISCLLANEOUS MAINTENANCE | -3.59 | 2.18% | dgr2-2026-07-10.xls
2026-07-10 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-10.xls
2026-07-10 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.73 | 400.1 | 333.55 |  | 0 |  |  |  | -0.08 | 97.9% | dgr2-2026-07-10.xls
2026-07-10 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.85 | 409.4 | 395.98 |  | 0 |  |  |  | 0.01 | 100.3% | dgr2-2026-07-10.xls
2026-07-10 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.78 | 369 | 355.95 |  | 0 |  |  |  | 3.78 |  | dgr2-2026-07-10.xls
2026-07-11 | KOTA TPS | Station |  |  | 1240 | 15.03 | 16.43 | 2273.33 | 1890.59 | 12 | 320 |  |  |  | 1.4 | 109.3% | dgr2-2026-07-11.xls
2026-07-11 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 197.24 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-11.xls
2026-07-11 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.52 | 197.57 | 154.11 |  | 0 |  |  |  | -0.35 | 81.28% | dgr2-2026-07-11.xls
2026-07-11 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.39 | 398.37 | 331.38 |  | 0 |  |  |  | -0.28 | 92.37% | dgr2-2026-07-11.xls
2026-07-11 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-11.xls
2026-07-11 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.81 | 403.91 | 337.36 |  | 0 |  |  |  | 0 | 100% | dgr2-2026-07-11.xls
2026-07-11 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.83 | 413.24 | 399.81 |  | 0 |  |  |  | -0.01 | 99.74% | dgr2-2026-07-11.xls
2026-07-11 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.88 | 369 | 359.83 |  | 0 |  |  |  | 3.88 |  | dgr2-2026-07-11.xls
2026-07-12 | KOTA TPS | Station |  |  | 1240 | 15.03 | 16.51 | 2288.36 | 1907.1 | 14 | 320 |  |  |  | 1.48 | 109.8% | dgr2-2026-07-12.xls
2026-07-12 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 199.08 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-12.xls
2026-07-12 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.53 | 199.44 | 155.64 |  | 0 |  |  |  | -0.34 | 81.82% | dgr2-2026-07-12.xls
2026-07-12 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.48 | 402.04 | 334.86 |  | 0 |  |  |  | -0.19 | 94.82% | dgr2-2026-07-12.xls
2026-07-12 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-12.xls
2026-07-12 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 3.78 | 407.72 | 341.14 |  | 0 |  |  |  | -0.03 | 99.21% | dgr2-2026-07-12.xls
2026-07-12 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.83 | 417.08 | 403.64 |  | 0 |  |  |  | -0.01 | 99.74% | dgr2-2026-07-12.xls
2026-07-12 | KOTA TPS | Unit | 7 |  | 195 | 0 | 3.89 | 369 | 363.72 |  | 0 |  |  |  | 3.89 |  | dgr2-2026-07-12.xls
2026-07-13 | KOTA TPS | Station |  |  | 1240 | 15.03 | 17.42 | 2303.39 | 1924.52 | 15 | 320 |  |  |  | 2.39 | 115.9% | dgr2-2026-07-13.xls
2026-07-13 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 200.92 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-13.xls
2026-07-13 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.69 | 201.31 | 157.33 |  | 0 |  |  |  | -0.18 | 90.37% | dgr2-2026-07-13.xls
2026-07-13 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.69 | 405.71 | 338.55 |  | 0 |  |  |  | 0.02 | 100.5% | dgr2-2026-07-13.xls
2026-07-13 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-13.xls
2026-07-13 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.02 | 411.53 | 345.16 |  | 0 |  |  |  | 0.21 | 105.5% | dgr2-2026-07-13.xls
2026-07-13 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.85 | 420.92 | 407.49 |  | 0 |  |  |  | 0.01 | 100.3% | dgr2-2026-07-13.xls
2026-07-13 | KOTA TPS | Unit | 7 |  | 195 | 0 | 4.17 | 369 | 367.89 |  | 0 |  |  |  | 4.17 |  | dgr2-2026-07-13.xls
2026-07-14 | KOTA TPS | Station |  |  | 1240 | 15.03 | 17.59 | 2318.42 | 1942.11 | 15 | 320 |  |  |  | 2.56 | 117% | dgr2-2026-07-14.xls
2026-07-14 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 202.76 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-14.xls
2026-07-14 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.77 | 203.18 | 159.1 |  | 0 |  |  |  | -0.1 | 94.65% | dgr2-2026-07-14.xls
2026-07-14 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.82 | 409.38 | 342.37 |  | 0 |  |  |  | 0.15 | 104.1% | dgr2-2026-07-14.xls
2026-07-14 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0 | 294 | 163.75 |  | 210 | 2026-07-05 |  | TURBINE BEARING PROBLEM | 0 |  | dgr2-2026-07-14.xls
2026-07-14 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.11 | 415.34 | 349.27 |  | 0 |  |  |  | 0.3 | 107.9% | dgr2-2026-07-14.xls
2026-07-14 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.71 | 424.76 | 411.2 |  | 0 |  |  |  | -0.13 | 96.61% | dgr2-2026-07-14.xls
2026-07-14 | KOTA TPS | Unit | 7 |  | 195 | 0 | 4.18 | 369 | 372.07 |  | 0 |  |  |  | 4.18 |  | dgr2-2026-07-14.xls
2026-07-15 | KOTA TPS | Station |  |  | 1240 | 15.03 | 17.58 | 2333.45 | 1959.69 | 16 | 515 |  |  |  | 2.55 | 117% | dgr2-2026-07-15.xls
2026-07-15 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 204.6 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-15.xls
2026-07-15 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.88 | 205.05 | 160.98 |  | 0 |  |  |  | 0.01 | 100.5% | dgr2-2026-07-15.xls
2026-07-15 | KOTA TPS | Unit | 3 |  | 210 | 3.67 | 3.86 | 413.05 | 346.23 |  | 0 |  |  |  | 0.19 | 105.2% | dgr2-2026-07-15.xls
2026-07-15 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0.56 | 294 | 164.31 |  | 210 | 2026-07-15 23:11 |  | TURBINE MISC. PROBLEM | 0.56 |  | dgr2-2026-07-15.xls
2026-07-15 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.16 | 419.15 | 353.43 |  | 0 |  |  |  | 0.35 | 109.2% | dgr2-2026-07-15.xls
2026-07-15 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.85 | 428.6 | 415.05 |  | 0 |  |  |  | 0.01 | 100.3% | dgr2-2026-07-15.xls
2026-07-15 | KOTA TPS | Unit | 7 | S | 195 | 0 | 3.27 | 369 | 375.34 |  | 195 | 2026-07-15 19:10 |  | BOILER MISC. PROBLEM | 3.27 |  | dgr2-2026-07-15.xls
2026-07-16 | KOTA TPS | Station |  |  | 1240 | 11.36 | 14.43 | 2344.81 | 1974.12 | 16 | 515 |  |  |  | 3.07 | 127% | dgr2-2026-07-16.xls
2026-07-16 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 206.44 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-16.xls
2026-07-16 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.93 | 206.92 | 162.91 |  | 0 |  |  |  | 0.06 | 103.2% | dgr2-2026-07-16.xls
2026-07-16 | KOTA TPS | Unit | 3 |  | 210 | 0 | 4 | 413.05 | 350.23 |  | 0 |  |  |  | 4 |  | dgr2-2026-07-16.xls
2026-07-16 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0.25 | 294 | 164.56 |  | 210 | 2026-07-16 22:59 |  | TURBINE BEARING PROBLEM | 0.25 |  | dgr2-2026-07-16.xls
2026-07-16 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.41 | 422.96 | 357.84 |  | 0 |  |  |  | 0.6 | 115.7% | dgr2-2026-07-16.xls
2026-07-16 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.84 | 432.44 | 418.89 |  | 0 |  |  |  | 0 | 100% | dgr2-2026-07-16.xls
2026-07-16 | KOTA TPS | Unit | 7 | S | 195 | 0 | 0 | 369 | 375.34 |  | 195 | 2026-07-15 19:10 |  | BOILER MISC. PROBLEM | 0 |  | dgr2-2026-07-16.xls
2026-07-17 | KOTA TPS | Station |  |  | 1240 | 11.36 | 14.86 | 2356.17 | 1988.98 | 16 | 515 |  |  |  | 3.5 | 130.8% | dgr2-2026-07-17.xls
2026-07-17 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 208.28 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-17.xls
2026-07-17 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.89 | 208.79 | 164.8 |  | 0 |  |  |  | 0.02 | 101.1% | dgr2-2026-07-17.xls
2026-07-17 | KOTA TPS | Unit | 3 |  | 210 | 0 | 3.95 | 413.05 | 354.18 |  | 0 |  |  |  | 3.95 |  | dgr2-2026-07-17.xls
2026-07-17 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0.13 | 294 | 164.69 |  | 210 | 2026-07-17 21:31 |  | GENERATOR MISCLLANEOUS MAINTENANCE | 0.13 |  | dgr2-2026-07-17.xls
2026-07-17 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.13 | 426.77 | 361.97 |  | 0 |  |  |  | 0.32 | 108.4% | dgr2-2026-07-17.xls
2026-07-17 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 4.01 | 436.28 | 422.9 |  | 0 |  |  |  | 0.17 | 104.4% | dgr2-2026-07-17.xls
2026-07-17 | KOTA TPS | Unit | 7 | * | 195 | 0 | 0.75 | 369 | 376.09 |  | 195 | 2026-07-15 19:10 | 2026-07-17 18:45 | BOILER MISC. PROBLEM | 0.75 |  | dgr2-2026-07-17.xls
2026-07-18 | KOTA TPS | Station |  |  | 1240 | 11.36 | 18.54 | 2367.53 | 2007.52 | 16 | 320 |  |  |  | 7.18 | 163.2% | dgr2-2026-07-18.xls
2026-07-18 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 210.12 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-18.xls
2026-07-18 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.84 | 210.66 | 166.64 |  | 0 |  |  |  | -0.03 | 98.4% | dgr2-2026-07-18.xls
2026-07-18 | KOTA TPS | Unit | 3 |  | 210 | 0 | 3.84 | 413.05 | 358.02 |  | 0 |  |  |  | 3.84 |  | dgr2-2026-07-18.xls
2026-07-18 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0.16 | 294 | 164.85 |  | 210 | 2026-07-18 10:02 |  | TURBINE VIBRATIONS HIGH | 0.16 |  | dgr2-2026-07-18.xls
2026-07-18 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.26 | 430.58 | 366.23 |  | 0 |  |  |  | 0.45 | 111.8% | dgr2-2026-07-18.xls
2026-07-18 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 4 | 440.12 | 426.9 |  | 0 |  |  |  | 0.16 | 104.2% | dgr2-2026-07-18.xls
2026-07-18 | KOTA TPS | Unit | 7 |  | 195 | 0 | 4.44 | 369 | 380.53 |  | 0 |  |  |  | 4.44 |  | dgr2-2026-07-18.xls
2026-07-19 | KOTA TPS | Station |  |  | 1240 | 11.36 | 18.2 | 2378.89 | 2025.72 | 15 | 320 |  |  |  | 6.84 | 160.2% | dgr2-2026-07-19.xls
2026-07-19 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 211.96 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-19.xls
2026-07-19 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.79 | 212.53 | 168.43 |  | 0 |  |  |  | -0.08 | 95.72% | dgr2-2026-07-19.xls
2026-07-19 | KOTA TPS | Unit | 3 |  | 210 | 0 | 3.86 | 413.05 | 361.88 |  | 0 |  |  |  | 3.86 |  | dgr2-2026-07-19.xls
2026-07-19 | KOTA TPS | Unit | 4 | * | 210 | 0 | 0.06 | 294 | 164.91 |  | 210 | 2026-07-18 10:02 | 2026-07-19 22:59 | TURBINE VIBRATIONS HIGH | 0.06 |  | dgr2-2026-07-19.xls
2026-07-19 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.2 | 434.39 | 370.43 |  | 0 |  |  |  | 0.39 | 110.2% | dgr2-2026-07-19.xls
2026-07-19 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.96 | 443.96 | 430.86 |  | 0 |  |  |  | 0.12 | 103.1% | dgr2-2026-07-19.xls
2026-07-19 | KOTA TPS | Unit | 7 |  | 195 | 0 | 4.33 | 369 | 384.86 |  | 0 |  |  |  | 4.33 |  | dgr2-2026-07-19.xls
2026-07-20 | KOTA TPS | Station |  |  | 1240 | 11.36 | 18.24 | 2390.25 | 2043.96 | 15 | 320 |  |  |  | 6.88 | 160.6% | dgr2-2026-07-20.xls
2026-07-20 | KOTA TPS | Unit | 1 | S | 110 | 1.84 | 0 | 213.8 | 144.35 |  | 110 | 2026-07-09 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE | -1.84 | 0% | dgr2-2026-07-20.xls
2026-07-20 | KOTA TPS | Unit | 2 |  | 110 | 1.87 | 1.83 | 214.4 | 170.26 |  | 0 |  |  |  | -0.04 | 97.86% | dgr2-2026-07-20.xls
2026-07-20 | KOTA TPS | Unit | 3 |  | 210 | 0 | 3.83 | 413.05 | 365.71 |  | 0 |  |  |  | 3.83 |  | dgr2-2026-07-20.xls
2026-07-20 | KOTA TPS | Unit | 4 | S | 210 | 0 | 0.08 | 294 | 164.99 |  | 210 | 2026-07-20 01:09 |  | TURBINE VIBRATIONS HIGH | 0.08 |  | dgr2-2026-07-20.xls
2026-07-20 | KOTA TPS | Unit | 5 |  | 210 | 3.81 | 4.17 | 438.2 | 374.6 |  | 0 |  |  |  | 0.36 | 109.4% | dgr2-2026-07-20.xls
2026-07-20 | KOTA TPS | Unit | 6 |  | 195 | 3.84 | 3.98 | 447.8 | 434.84 |  | 0 |  |  |  | 0.14 | 103.6% | dgr2-2026-07-20.xls
2026-07-20 | KOTA TPS | Unit | 7 |  | 195 | 0 | 4.35 | 369 | 389.21 |  | 0 |  |  |  | 4.35 |  | dgr2-2026-07-20.xls

## Unit_Daily
Date | Unit | Status | Capacity_MW | Program_MU | Actual_MU | Outage_MW | Outage_DateTime | Sync_DateTime | Remarks
2026-06-06 | 1 |  | 110 | 1.93 | 1.62 | 0
2026-06-06 | 2 |  | 110 | 1.93 | 1.66 | 0
2026-06-06 | 3 |  | 210 | 3.9 | 3.67 | 0
2026-06-06 | 4 |  | 210 | 4 | 3.75 | 0
2026-06-06 | 5 |  | 210 | 4 | 3.85 | 0
2026-06-06 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-06 | 7 |  | 195 | 4.1 | 3.82 | 0
2026-06-07 | 1 |  | 110 | 1.93 | 1.61 | 0
2026-06-07 | 2 |  | 110 | 1.93 | 1.58 | 0
2026-06-07 | 3 |  | 210 | 3.9 | 3.59 | 0
2026-06-07 | 4 |  | 210 | 4 | 3.61 | 0
2026-06-07 | 5 |  | 210 | 4 | 3.83 | 0
2026-06-07 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-07 | 7 |  | 195 | 4.1 | 3.81 | 0
2026-06-08 | 1 |  | 110 | 1.93 | 1.55 | 0
2026-06-08 | 2 |  | 110 | 1.93 | 1.6 | 0
2026-06-08 | 3 |  | 210 | 3.9 | 3.61 | 0
2026-06-08 | 4 |  | 210 | 4 | 3.67 | 0
2026-06-08 | 5 |  | 210 | 4 | 3.85 | 0
2026-06-08 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-08 | 7 |  | 195 | 4.1 | 3.83 | 0
2026-06-09 | 1 |  | 110 | 1.93 | 1.63 | 0
2026-06-09 | 2 |  | 110 | 1.93 | 1.74 | 0
2026-06-09 | 3 |  | 210 | 3.9 | 3.72 | 0
2026-06-09 | 4 |  | 210 | 4 | 3.81 | 0
2026-06-09 | 5 |  | 210 | 4 | 3.89 | 0
2026-06-09 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-09 | 7 |  | 195 | 4.1 | 3.81 | 0
2026-06-10 | 1 |  | 110 | 1.93 | 1.65 | 0
2026-06-10 | 2 |  | 110 | 1.93 | 1.71 | 0
2026-06-10 | 3 |  | 210 | 3.9 | 3.74 | 0
2026-06-10 | 4 |  | 210 | 4 | 3.69 | 0
2026-06-10 | 5 |  | 210 | 4 | 3.95 | 0
2026-06-10 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-10 | 7 |  | 195 | 4.1 | 4.01 | 0
2026-06-11 | 1 |  | 110 | 1.93 | 1.65 | 0
2026-06-11 | 2 |  | 110 | 1.93 | 1.7 | 0
2026-06-11 | 3 |  | 210 | 3.9 | 3.7 | 0
2026-06-11 | 4 |  | 210 | 4 | 3.38 | 0
2026-06-11 | 5 |  | 210 | 4 | 3.99 | 0
2026-06-11 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-11 | 7 |  | 195 | 4.1 | 4.02 | 0
2026-06-12 | 1 |  | 110 | 1.93 | 1.56 | 0
2026-06-12 | 2 |  | 110 | 1.93 | 1.59 | 0
2026-06-12 | 3 |  | 210 | 3.9 | 3.56 | 0
2026-06-12 | 4 |  | 210 | 4 | 3.38 | 0
2026-06-12 | 5 |  | 210 | 4 | 3.83 | 0
2026-06-12 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-12 | 7 |  | 195 | 4.1 | 3.82 | 0
2026-06-13 | 1 |  | 110 | 1.93 | 1.57 | 0
2026-06-13 | 2 |  | 110 | 1.93 | 1.59 | 0
2026-06-13 | 3 |  | 210 | 3.9 | 3.61 | 0
2026-06-13 | 4 |  | 210 | 4 | 3.38 | 0
2026-06-13 | 5 |  | 210 | 4 | 3.88 | 0
2026-06-13 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-13 | 7 |  | 195 | 4.1 | 3.87 | 0
2026-06-14 | 1 |  | 110 | 1.93 | 1.48 | 0
2026-06-14 | 2 |  | 110 | 1.93 | 1.48 | 0
2026-06-14 | 3 |  | 210 | 3.9 | 3.44 | 0
2026-06-14 | 4 |  | 210 | 4 | 3.38 | 0
2026-06-14 | 5 |  | 210 | 4 | 3.67 | 0
2026-06-14 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-14 | 7 |  | 195 | 4.1 | 3.72 | 0
2026-06-15 | 1 |  | 110 | 1.93 | 1.54 | 0
2026-06-15 | 2 |  | 110 | 1.93 | 1.56 | 0
2026-06-15 | 3 |  | 210 | 3.9 | 3.5 | 0
2026-06-15 | 4 |  | 210 | 0 | 3.38 | 0
2026-06-15 | 5 |  | 210 | 4 | 3.75 | 0
2026-06-15 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-15 | 7 |  | 195 | 4.1 | 3.72 | 0
2026-06-16 | 1 |  | 110 | 1.93 | 1.68 | 0
2026-06-16 | 2 |  | 110 | 1.93 | 1.73 | 0
2026-06-16 | 3 |  | 210 | 3.9 | 3.79 | 0
2026-06-16 | 4 |  | 210 | 0 | 3.38 | 0
2026-06-16 | 5 |  | 210 | 4 | 4.03 | 0
2026-06-16 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-16 | 7 |  | 195 | 4.1 | 4.03 | 0
2026-06-17 | 1 |  | 110 | 1.93 | 1.6 | 0
2026-06-17 | 2 |  | 110 | 1.93 | 1.66 | 0
2026-06-17 | 3 |  | 210 | 3.9 | 3.72 | 0
2026-06-17 | 4 |  | 210 | 0 | 3.52 | 0
2026-06-17 | 5 |  | 210 | 4 | 4.04 | 0
2026-06-17 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-17 | 7 |  | 195 | 4.1 | 3.96 | 0
2026-06-18 | 1 |  | 110 | 1.93 | 1.61 | 0
2026-06-18 | 2 |  | 110 | 1.93 | 1.77 | 0
2026-06-18 | 3 |  | 210 | 3.9 | 3.89 | 0
2026-06-18 | 4 |  | 210 | 0 | 3.62 | 0
2026-06-18 | 5 |  | 210 | 4 | 4.18 | 0
2026-06-18 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-18 | 7 |  | 195 | 4.1 | 4.19 | 0
2026-06-19 | 1 |  | 110 | 1.93 | 1.65 | 0
2026-06-19 | 2 |  | 110 | 1.93 | 1.76 | 0
2026-06-19 | 3 |  | 210 | 3.9 | 3.88 | 0
2026-06-19 | 4 |  | 210 | 0 | 3.57 | 0
2026-06-19 | 5 |  | 210 | 4 | 4.11 | 0
2026-06-19 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-19 | 7 |  | 195 | 4.1 | 4.21 | 0
2026-06-20 | 1 |  | 110 | 1.93 | 1.76 | 0
2026-06-20 | 2 |  | 110 | 1.93 | 1.87 | 0
2026-06-20 | 3 |  | 210 | 3.9 | 4.03 | 0
2026-06-20 | 4 |  | 210 | 0 | 3.65 | 0
2026-06-20 | 5 |  | 210 | 4 | 4.24 | 0
2026-06-20 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-20 | 7 |  | 195 | 4.1 | 4.21 | 0
2026-06-21 | 1 |  | 110 | 1.93 | 1.53 | 0
2026-06-21 | 2 |  | 110 | 1.93 | 1.62 | 0
2026-06-21 | 3 |  | 210 | 3.9 | 3.64 | 0
2026-06-21 | 4 |  | 210 | 0 | 3.52 | 0
2026-06-21 | 5 |  | 210 | 4 | 3.8 | 0
2026-06-21 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-21 | 7 |  | 195 | 4.1 | 3.84 | 0
2026-06-22 | 1 |  | 110 | 1.93 | 1.56 | 0
2026-06-22 | 2 |  | 110 | 1.93 | 1.62 | 0
2026-06-22 | 3 |  | 210 | 3.9 | 3.67 | 0
2026-06-22 | 4 |  | 210 | 0 | 3.48 | 0
2026-06-22 | 5 |  | 210 | 4 | 3.83 | 0
2026-06-22 | 6 |  | 195 | 4.1 | 3.86 | 0
2026-06-22 | 7 |  | 195 | 4.1 | 3.77 | 0
2026-06-23 | 1 |  | 110 | 1.93 | 1.63 | 0
2026-06-23 | 2 |  | 110 | 1.93 | 1.67 | 0
2026-06-23 | 3 |  | 210 | 3.9 | 3.76 | 0
2026-06-23 | 4 |  | 210 | 0 | 3.56 | 0
2026-06-23 | 5 |  | 210 | 4 | 3.96 | 0
2026-06-23 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-23 | 7 |  | 195 | 4.1 | 3.87 | 0
2026-06-24 | 1 |  | 110 | 1.93 | 1.58 | 0
2026-06-24 | 2 |  | 110 | 1.93 | 1.61 | 0
2026-06-24 | 3 |  | 210 | 3.9 | 3.69 | 0
2026-06-24 | 4 |  | 210 | 0 | 3.51 | 0
2026-06-24 | 5 |  | 210 | 4 | 3.86 | 0
2026-06-24 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-24 | 7 |  | 195 | 4.1 | 3.93 | 0
2026-06-25 | 1 |  | 110 | 1.93 | 1.6 | 0
2026-06-25 | 2 |  | 110 | 1.93 | 1.65 | 0
2026-06-25 | 3 |  | 210 | 3.9 | 3.89 | 0
2026-06-25 | 4 |  | 210 | 0 | 3.52 | 0
2026-06-25 | 5 |  | 210 | 4 | 3.92 | 0
2026-06-25 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-25 | 7 |  | 195 | 4.1 | 3.92 | 0
2026-06-26 | 1 |  | 110 | 1.93 | 1.63 | 0
2026-06-26 | 2 |  | 110 | 1.93 | 1.76 | 0
2026-06-26 | 3 |  | 210 | 3.9 | 3.82 | 0
2026-06-26 | 4 |  | 210 | 0 | 3.63 | 0
2026-06-26 | 5 |  | 210 | 4 | 4.13 | 0
2026-06-26 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-26 | 7 |  | 195 | 4.1 | 4.16 | 0
2026-06-27 | 1 |  | 110 | 1.93 | 1.69 | 0
2026-06-27 | 2 |  | 110 | 1.93 | 1.75 | 0
2026-06-27 | 3 |  | 210 | 3.9 | 3.97 | 0
2026-06-27 | 4 |  | 210 | 0 | 3.65 | 0
2026-06-27 | 5 |  | 210 | 4 | 4.29 | 0
2026-06-27 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-27 | 7 |  | 195 | 4.1 | 4.28 | 0
2026-06-28 | 1 |  | 110 | 1.93 | 1.69 | 0
2026-06-28 | 2 |  | 110 | 1.93 | 1.75 | 0
2026-06-28 | 3 |  | 210 | 3.9 | 3.9 | 0
2026-06-28 | 4 |  | 210 | 0 | 3.62 | 0
2026-06-28 | 5 |  | 210 | 4 | 4.23 | 0
2026-06-28 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-28 | 7 |  | 195 | 4.1 | 4.26 | 0
2026-06-29 | 1 |  | 110 | 1.93 | 1.72 | 0
2026-06-29 | 2 |  | 110 | 1.93 | 1.81 | 0
2026-06-29 | 3 |  | 210 | 3.9 | 3.85 | 0
2026-06-29 | 4 |  | 210 | 0 | 3.64 | 0
2026-06-29 | 5 |  | 210 | 4 | 4.16 | 0
2026-06-29 | 6 |  | 195 | 4.1 | 3.84 | 0
2026-06-29 | 7 |  | 195 | 4.1 | 4.28 | 0
2026-06-30 | 1 |  | 110 | 1.93 | 1.69 | 0
2026-06-30 | 2 |  | 110 | 1.93 | 1.72 | 0
2026-06-30 | 3 |  | 210 | 3.9 | 3.79 | 0
2026-06-30 | 4 |  | 210 | 0 | 3.61 | 0
2026-06-30 | 5 |  | 210 | 4 | 4.08 | 0
2026-06-30 | 6 |  | 195 | 4.1 | 3.85 | 0
2026-06-30 | 7 |  | 195 | 4.1 | 3.31 | 195
2026-07-01 | 1 |  | 110 | 1.84 | 1.71 | 0
2026-07-01 | 2 |  | 110 | 1.87 | 1.74 | 0
2026-07-01 | 3 |  | 210 | 3.67 | 3.82 | 0
2026-07-01 | 4 |  | 210 | 0 | 3.63 | 0
2026-07-01 | 5 |  | 210 | 3.81 | 4.06 | 0
2026-07-01 | 6 |  | 195 | 3.84 | 3.86 | 0
2026-07-01 | 7 |  | 195 | 0 | 3.28 | 195
2026-07-02 | 1 |  | 110 | 1.84 | 1.71 | 0
2026-07-02 | 2 |  | 110 | 1.87 | 1.76 | 0
2026-07-02 | 3 |  | 210 | 3.67 | 3.82 | 0
2026-07-02 | 4 |  | 210 | 0 | 3.58 | 0
2026-07-02 | 5 |  | 210 | 3.81 | 4.08 | 0
2026-07-02 | 6 |  | 195 | 3.84 | 3.85 | 0
2026-07-02 | 7 |  | 195 | 0 | 4.07 | 0
2026-07-03 | 1 |  | 110 | 1.84 | 1.54 | 0
2026-07-03 | 2 |  | 110 | 1.87 | 1.58 | 0
2026-07-03 | 3 |  | 210 | 3.67 | 3.59 | 0
2026-07-03 | 4 |  | 210 | 0 | 3.17 | 0
2026-07-03 | 5 |  | 210 | 3.81 | 3.88 | 0
2026-07-03 | 6 |  | 195 | 3.84 | 3.84 | 0
2026-07-03 | 7 |  | 195 | 0 | 3.96 | 0
2026-07-04 | 1 |  | 110 | 1.84 | 1.58 | 0
2026-07-04 | 2 |  | 110 | 1.87 | 1.63 | 0
2026-07-04 | 3 |  | 210 | 3.67 | 3.62 | 0
2026-07-04 | 4 |  | 210 | 0 | 3.25 | 0
2026-07-04 | 5 |  | 210 | 3.81 | 3.96 | 0
2026-07-04 | 6 |  | 195 | 3.84 | 3.82 | 0
2026-07-04 | 7 |  | 195 | 0 | 3.95 | 0
2026-07-05 | 1 |  | 110 | 1.84 | 1.5 | 0
2026-07-05 | 2 |  | 110 | 1.87 | 1.55 | 0
2026-07-05 | 3 |  | 210 | 3.67 | 3.52 | 0
2026-07-05 | 4 |  | 210 | 0 | 0 | 210
2026-07-05 | 5 |  | 210 | 3.81 | 3.86 | 0
2026-07-05 | 6 |  | 195 | 3.84 | 3.82 | 0
2026-07-05 | 7 |  | 195 | 0 | 3.86 | 0
2026-07-06 | 1 |  | 110 | 1.84 | 1.56 | 0
2026-07-06 | 2 |  | 110 | 1.87 | 1.61 | 0
2026-07-06 | 3 |  | 210 | 3.67 | 3.6 | 0
2026-07-06 | 4 |  | 210 | 0 | 0 | 210
2026-07-06 | 5 |  | 210 | 3.81 | 3.88 | 0
2026-07-06 | 6 |  | 195 | 3.84 | 3.84 | 0
2026-07-06 | 7 |  | 195 | 0 | 3.43 | 0
2026-07-07 | 1 |  | 110 | 1.84 | 1.6 | 0
2026-07-07 | 2 |  | 110 | 1.87 | 1.6 | 0
2026-07-07 | 3 |  | 210 | 3.67 | 3.61 | 0
2026-07-07 | 4 |  | 210 | 0 | 0 | 210
2026-07-07 | 5 |  | 210 | 3.81 | 3.9 | 0
2026-07-07 | 6 |  | 195 | 3.84 | 3.84 | 0
2026-07-07 | 7 |  | 195 | 0 | 3.95 | 0
2026-07-08 | 1 |  | 110 | 1.84 | 1.51 | 0
2026-07-08 | 2 |  | 110 | 1.87 | 1.53 | 0
2026-07-08 | 3 |  | 210 | 3.67 | 3.53 | 0
2026-07-08 | 4 |  | 210 | 0 | 0 | 210
2026-07-08 | 5 |  | 210 | 3.81 | 3.86 | 0
2026-07-08 | 6 |  | 195 | 3.84 | 3.84 | 0
2026-07-08 | 7 |  | 195 | 0 | 3.89 | 0
2026-07-09 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-09 | 2 |  | 110 | 1.87 | 1.49 | 0
2026-07-09 | 3 |  | 210 | 3.67 | 1.2 | 210
2026-07-09 | 4 |  | 210 | 0 | 0 | 210
2026-07-09 | 5 |  | 210 | 3.81 | 3.89 | 0
2026-07-09 | 6 |  | 195 | 3.84 | 3.83 | 0
2026-07-09 | 7 |  | 195 | 0 | 3.88 | 0
2026-07-10 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-10 | 2 |  | 110 | 1.87 | 1.46 | 0
2026-07-10 | 3 |  | 210 | 3.67 | 0.08 | 210
2026-07-10 | 4 |  | 210 | 0 | 0 | 210
2026-07-10 | 5 |  | 210 | 3.81 | 3.73 | 0
2026-07-10 | 6 |  | 195 | 3.84 | 3.85 | 0
2026-07-10 | 7 |  | 195 | 0 | 3.78 | 0
2026-07-11 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-11 | 2 |  | 110 | 1.87 | 1.52 | 0
2026-07-11 | 3 |  | 210 | 3.67 | 3.39 | 0
2026-07-11 | 4 |  | 210 | 0 | 0 | 210
2026-07-11 | 5 |  | 210 | 3.81 | 3.81 | 0
2026-07-11 | 6 |  | 195 | 3.84 | 3.83 | 0
2026-07-11 | 7 |  | 195 | 0 | 3.88 | 0
2026-07-12 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-12 | 2 |  | 110 | 1.87 | 1.53 | 0
2026-07-12 | 3 |  | 210 | 3.67 | 3.48 | 0
2026-07-12 | 4 |  | 210 | 0 | 0 | 210
2026-07-12 | 5 |  | 210 | 3.81 | 3.78 | 0
2026-07-12 | 6 |  | 195 | 3.84 | 3.83 | 0
2026-07-12 | 7 |  | 195 | 0 | 3.89 | 0
2026-07-13 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-13 | 2 |  | 110 | 1.87 | 1.69 | 0
2026-07-13 | 3 |  | 210 | 3.67 | 3.69 | 0
2026-07-13 | 4 |  | 210 | 0 | 0 | 210
2026-07-13 | 5 |  | 210 | 3.81 | 4.02 | 0
2026-07-13 | 6 |  | 195 | 3.84 | 3.85 | 0
2026-07-13 | 7 |  | 195 | 0 | 4.17 | 0
2026-07-14 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-14 | 2 |  | 110 | 1.87 | 1.77 | 0
2026-07-14 | 3 |  | 210 | 3.67 | 3.82 | 0
2026-07-14 | 4 |  | 210 | 0 | 0 | 210
2026-07-14 | 5 |  | 210 | 3.81 | 4.11 | 0
2026-07-14 | 6 |  | 195 | 3.84 | 3.71 | 0
2026-07-14 | 7 |  | 195 | 0 | 4.18 | 0
2026-07-15 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-15 | 2 |  | 110 | 1.87 | 1.88 | 0
2026-07-15 | 3 |  | 210 | 3.67 | 3.86 | 0
2026-07-15 | 4 |  | 210 | 0 | 0.56 | 210
2026-07-15 | 5 |  | 210 | 3.81 | 4.16 | 0
2026-07-15 | 6 |  | 195 | 3.84 | 3.85 | 0
2026-07-15 | 7 |  | 195 | 0 | 3.27 | 195
2026-07-16 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-16 | 2 |  | 110 | 1.87 | 1.93 | 0
2026-07-16 | 3 |  | 210 | 0 | 4 | 0
2026-07-16 | 4 |  | 210 | 0 | 0.25 | 210
2026-07-16 | 5 |  | 210 | 3.81 | 4.41 | 0
2026-07-16 | 6 |  | 195 | 3.84 | 3.84 | 0
2026-07-16 | 7 |  | 195 | 0 | 0 | 195
2026-07-17 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-17 | 2 |  | 110 | 1.87 | 1.89 | 0
2026-07-17 | 3 |  | 210 | 0 | 3.95 | 0
2026-07-17 | 4 |  | 210 | 0 | 0.13 | 210
2026-07-17 | 5 |  | 210 | 3.81 | 4.13 | 0
2026-07-17 | 6 |  | 195 | 3.84 | 4.01 | 0
2026-07-17 | 7 |  | 195 | 0 | 0.75 | 195
2026-07-18 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-18 | 2 |  | 110 | 1.87 | 1.84 | 0
2026-07-18 | 3 |  | 210 | 0 | 3.84 | 0
2026-07-18 | 4 |  | 210 | 0 | 0.16 | 210
2026-07-18 | 5 |  | 210 | 3.81 | 4.26 | 0
2026-07-18 | 6 |  | 195 | 3.84 | 4 | 0
2026-07-18 | 7 |  | 195 | 0 | 4.44 | 0
2026-07-19 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-19 | 2 |  | 110 | 1.87 | 1.79 | 0
2026-07-19 | 3 |  | 210 | 0 | 3.86 | 0
2026-07-19 | 4 |  | 210 | 0 | 0.06 | 210
2026-07-19 | 5 |  | 210 | 3.81 | 4.2 | 0
2026-07-19 | 6 |  | 195 | 3.84 | 3.96 | 0
2026-07-19 | 7 |  | 195 | 0 | 4.33 | 0
2026-07-20 | 1 |  | 110 | 1.84 | 0 | 110
2026-07-20 | 2 |  | 110 | 1.87 | 1.83 | 0
2026-07-20 | 3 |  | 210 | 0 | 3.83 | 0
2026-07-20 | 4 |  | 210 | 0 | 0.08 | 210
2026-07-20 | 5 |  | 210 | 3.81 | 4.17 | 0
2026-07-20 | 6 |  | 195 | 3.84 | 3.98 | 0
2026-07-20 | 7 |  | 195 | 0 | 4.35 | 0

## Daily_Station_Summary
Date | Capacity (MW) | Program (MU) | Actual (MU) | Variance (MU) | Program Achievement (%) | Coal Stock (Days) | Outage Capacity (MW) | Remarks
2026-06-06 | 1240 | 23.96 | 22.22 | -1.74 | 92.74% | 15 | 0
2026-06-07 | 1240 | 23.96 | 21.88 | -2.08 | 91.32% | 14 | 0
2026-06-08 | 1240 | 23.96 | 21.95 | -2.01 | 91.61% | 14 | 0
2026-06-09 | 1240 | 23.96 | 22.45 | -1.51 | 93.7% | 14 | 0
2026-06-10 | 1240 | 23.96 | 22.6 | -1.36 | 94.32% | 14 | 0
2026-06-11 | 1240 | 23.96 | 22.28 | -1.68 | 92.99% | 14 | 0
2026-06-12 | 1240 | 23.96 | 21.58 | -2.38 | 90.07% | 14 | 0
2026-06-13 | 1240 | 23.96 | 21.74 | -2.22 | 90.73% | 14 | 0
2026-06-14 | 1240 | 23.96 | 21.02 | -2.94 | 87.73% | 13 | 0
2026-06-15 | 1240 | 19.96 | 21.3 | 1.34 | 106.7% | 13 | 0
2026-06-16 | 1240 | 19.96 | 22.49 | 2.53 | 112.7% | 13 | 0
2026-06-17 | 1240 | 19.96 | 22.35 | 2.39 | 112% | 13 | 0
2026-06-18 | 1240 | 19.96 | 23.1 | 3.14 | 115.7% | 13 | 0
2026-06-19 | 1240 | 19.96 | 23.03 | 3.07 | 115.4% | 13 | 0
2026-06-20 | 1240 | 19.96 | 23.61 | 3.65 | 118.3% | 12 | 0
2026-06-21 | 1240 | 19.96 | 21.8 | 1.84 | 109.2% | 13 | 0
2026-06-22 | 1240 | 19.96 | 21.79 | 1.83 | 109.2% | 12 | 0
2026-06-23 | 1240 | 19.96 | 22.3 | 2.34 | 111.7% | 12 | 0
2026-06-24 | 1240 | 19.96 | 22.02 | 2.06 | 110.3% | 11 | 0
2026-06-25 | 1240 | 19.96 | 22.35 | 2.39 | 112% | 11 | 0
2026-06-26 | 1240 | 19.96 | 22.97 | 3.01 | 115.1% | 10 | 0
2026-06-27 | 1240 | 19.96 | 23.48 | 3.52 | 117.6% | 10 | 0
2026-06-28 | 1240 | 19.96 | 23.29 | 3.33 | 116.7% | 9 | 0
2026-06-29 | 1240 | 19.96 | 23.3 | 3.34 | 116.7% | 9 | 0
2026-06-30 | 1240 | 19.96 | 22.05 | 2.09 | 110.5% | 9 | 195
2026-07-01 | 1240 | 15.03 | 22.1 | 7.07 | 147% | 9 | 195
2026-07-02 | 1240 | 15.03 | 22.87 | 7.84 | 152.2% | 9 | 0
2026-07-03 | 1240 | 15.03 | 21.56 | 6.53 | 143.4% | 9 | 0
2026-07-04 | 1240 | 15.03 | 21.81 | 6.78 | 145.1% | 9 | 0
2026-07-05 | 1240 | 15.03 | 18.11 | 3.08 | 120.5% | 9 | 210
2026-07-06 | 1240 | 15.03 | 17.92 | 2.89 | 119.2% | 9 | 210
2026-07-07 | 1240 | 15.03 | 18.5 | 3.47 | 123.1% | 10 | 210
2026-07-08 | 1240 | 15.03 | 18.16 | 3.13 | 120.8% | 10 | 210
2026-07-09 | 1240 | 15.03 | 14.29 | -0.74 | 95.08% | 10 | 530
2026-07-10 | 1240 | 15.03 | 12.9 | -2.13 | 85.83% | 11 | 530
2026-07-11 | 1240 | 15.03 | 16.43 | 1.4 | 109.3% | 12 | 320
2026-07-12 | 1240 | 15.03 | 16.51 | 1.48 | 109.8% | 14 | 320
2026-07-13 | 1240 | 15.03 | 17.42 | 2.39 | 115.9% | 15 | 320
2026-07-14 | 1240 | 15.03 | 17.59 | 2.56 | 117% | 15 | 320
2026-07-15 | 1240 | 15.03 | 17.58 | 2.55 | 117% | 16 | 515
2026-07-16 | 1240 | 11.36 | 14.43 | 3.07 | 127% | 16 | 515
2026-07-17 | 1240 | 11.36 | 14.86 | 3.5 | 130.8% | 16 | 515
2026-07-18 | 1240 | 11.36 | 18.54 | 7.18 | 163.2% | 16 | 320
2026-07-19 | 1240 | 11.36 | 18.2 | 6.84 | 160.2% | 15 | 320
2026-07-20 | 1240 | 11.36 | 18.24 | 6.88 | 160.6% | 15 | 320

## Unit_Reference
Unit | Monitored Capacity (MW)
Unit 1 | 110
Unit 2 | 110
Unit 3 | 210
Unit 4 | 210
Unit 5 | 210
Unit 6 | 195
Unit 7 | 195
Station Total | 1240

## Data_Quality
Check | Result
Expected date range | 06-Jun-2026 to 20-Jul-2026
Expected daily files | 45
Daily files successfully parsed | 45
Expected Kota records (8 x 45) | 360
Kota records extracted | 360
Missing source files | 0
Data-quality flags | 0

## README
Kota TPS Performance Analysis — Master Dataset
Source | National Power Portal (NPP) Report 02 daily generation reports
Analysis Period | 06-Jun-2026 to 20-Jul-2026 (45 days)
Station | KOTA TPS
Purpose | Consolidated station-level and unit-level dataset for Excel, SQL, Python and Power BI analysis.
Record Structure | 1 station row + Units 1–7 for each daily report
Generation Variance | Today's Actual - Today's Program
Program Achievement | Today's Actual / Today's Program (blank when Program is zero)
Important | Program Achievement is not thermal efficiency.
Data Integrity | Raw source values are retained; derived KPIs are formula-based.
Thermal efficiency / heat rate | Not calculated because Report 02 does not contain the required heat/fuel input data.
Next Step | Use Daily_Station_Summary for trend analysis and Master_Data for unit/outage analysis.